*Appendix No. 3.5 to the Request for quotation of 19 January 2023*
*for the purchase and delivery of electric generators for the Polish Red Cross*

**Generator 170-190 kVA**

|  |  |
| --- | --- |
| Group of Generators | 5 |
| Type of parameters | Desired parameter | **Please indicate if the offer meets the desired parameter** |
| Number of generators | 6 | YES |
| NO |
| The right of option (meaning the ability to exercise the right of option for possible subsequent unit(s) implies a warranty on the part of the Tenderer to maintain the conditions and price for the subsequent generator unit(s) in the event of the presentation of an offer favourable to the Ordering Party) | 1 | YES |
| NO |
| Parameters of the generator |
| Nominal power of the offered generator from the range (please enter value) (kVA) | 170-190 | \_\_\_\_\_ kVA |
| Voltage (V) | 400 | YES |
| NO |
| Possibility of continuous operation | YES | YES |
| NO |
| Parameters of electricity generator |
| Type of electricity generator | Self-excited, synchronous, brushless | YES |
| NO |
| Number of phases | 3 | YES |
| NO |
| Voltage stabilization (AVR) | YES | YES |
| NO |
| Engine parameters |
| Engine type | Four-cylinder straight engine Diesel | YES |
| NO |
| Cooling system |
| Cooling type | Fluid  | YES |
| NO |
| Oil |
| Lubrication | Pressure | YES |
| NO |
| Oil pressure sensor | YES | YES |
| NO |
| Ignition system |
| Main power control, automatic generator start | YES | YES |
| NO |
| Fuel |
| Fuel type | Diesel | YES |
| NO |
| Fuel tank capacity (minimum) l (liter) | 500 | YES |
| NO |
| Technical parameters |
| Structure | Enclosed, soundproofed | YES |
| NO |
| Transportation system |
| Anti-vibration plate with a cut-out for forklift transportation | YES | YES |
| NO |
| Mounting hooks for lifting capacity with a hydraulic vehicle crane | YES | YES |
| NO |
| Price offer |
| Price per unit (in the event that the Purchaser selects aggregates only from the above product group) | NET |   |
| GROSS |   |
| Price per unit after a possible discount (in the event that the Purchaser selects aggregates from all offered product groups) | NET |   |
| GROSS |   |

Signed:

………………………………………………………………………………………….

(name and last name of the person authorized to represent the Contractor)